FIRE ORDERS FOR ST LUKE'S COUNTY HOUSE.

In the event of a fire please follow the fire alarm instructions displayed next to fire alarm panel.

1.FIRE SAFETY

It is the responsibility of all occupants and visitors to St. Luke’s County House to ensure that the orders contained within are obeyed. In particular it is to be noted that it is an offence to:

- Restrict any fire access routes by leaving obstructions i.e. bags, boxes or any other such item, which may cause injury or difficulty to personnel evacuating from the building in an emergency.

- Remove any First Aid Fire Appliances(FAFA’S) from their designated fire points for any other purpose other than firefighting or inspection.

- Discharge fire extinguishers for any other purpose than fire fighting or servicing.

- Interfere with the internal fire alarm system or tamper with Automatic Fire Detectors( AFD).

- Wedge or prop open self closing doors. The use of emergency exit doors as a normal means of entry /exit to the building forbidden. (Door hooks should only be used when unloading)

- Introduce into or store within the building, any type of flammable liquids i.e. petrol, oil, thinners etc. or any compressed gas cylinders i.e. camping stoves.

- Interfere with electrical appliances connected to wall sockets when not in use.(even if the power is off).

- Use cuboid adapters in wall sockets, or adapt wiring to operate from one plug.

- Leave electrical appliances connected to wall sockets when not in use.(even if the power is off).

2. OTHER HOUSE RULES

- No naked lights of any description are allowed in the house. This includes candles, indoor fireworks.

- No chip pans/deep fat fryers, electric or otherwise.

- Non flammable seasonal decorations must only be used.

- Smoking in the building is strictly prohibited.

3.NSURANCE It is the individual’s responsibility to arrange their own insurance against loss of public or personal property.

4.FIRE ALARM TESTS The fire alarm system within this building is tested on a weekly basis and maintained by local contractors.

5.FIRE SAFETY EQUIPMENT All fire safety equipment, extinguishers, are to be checked on a regular basis and records kept up to date in the building fire log.